## Slide 1
EX3030/EM4012 Heat, Mass and Momentum Transfer Heat Exchangers 2
1
Originally by Dr Mark Stewart
Presented by Dr M. Bannerman
Notes: 1

## Slide 2
Week 8 Content
2
Types and classifications of heat exchangers
Overall heat transfer coefficient (OHTC)
Analysis of heat exchangers
Log Mean Temperature Difference (LMTD) method
Effectiveness-NTU method
Content
EX3030/EM40JN
Notes: 2

## Slide 3
Heat Exchanger Analysis
3
Introduction
EX3030/EM40JN
Previously we looked at how to relate the heat flux and overall heat transfer coefficient through:
However, we are yet to study the driving mechanism of the heat transfer process,
Two methods are commonly used to estimate :
Log-mean temperature difference (LMTD) method
Effectiveness-NTU method
Notes: 3

## Slide 4
LMTD Method
4
Temperature variation along the heat exchanger
EX3030/EM40JN
Parallel-flow
Counter-flow
Notes: 4

## Slide 5
LMTD Method
5
Governing equations:
EX3030/EM40JN
The heat flux can be described using an ‘average’ temperature:
where is the log mean temperature difference:
Note:
if is constant (i.e. or )
Parallel:
Counter-flow:
Notes: 5

## Slide 6
LMTD Method
6
Correction factor:
EX3030/EM40JN
LMTD method strictly only applicable to parallel and counter-flow HE’s
For different cross-flow and multi-pass shell-and-tube HE’s, we introduce a correction factor,
where , with the limiting value corresponding to a counter-flow HE
The value of depends on the geometry of the heat exchanger and inlet/outlet temperatures
Notes: 6

## Slide 7
LMTD Method
7
Correction factor charts:
EX3030/EM40JN
can be expressed as a function of two parameters:
Once and are known, we can get the corresponding value of from correction charts
where
Notes: 7

## Slide 8
LMTD Method
8
Typical workflow for problems involving the LMTD method:
EX3030/EM40JN
A typical task with the LMTD method is to select a heat exchanger that will meet the prescribed heat transfer requirements. Workflow may look something like:
Select type of heat exchanger suitable for the application (e.g. shell-and-tube, etc.)
Determine any unknown inlet or outlet temperatures and the heat transfer rate using an energy balance
Calculate (and the correction factor if necessary)
Obtain (select or calculate) the value of , the overall heat transfer coefficient
Calculate the required heat transfer surface area
Select available heat exchanger model with size
Notes: 8

## Slide 9
Worked Example 1
9
EX3030/EM40JN
Hot out
Hot in
Cold in
Cold out
A double-pipe parallel-flow heat exchanger is to heat water ( = 4180 J/kg·°C) from 25°C to 60°C at a rate of = 0.2 kg/s. The heating is to be accomplished by geothermal water ( = 4,310 J/kg·°C) available at 140°C at a mass flow rate of = 0.3 kg/s. The inner tube is thin-walled and has a diameter of 8 mm and the overall heat transfer coefficient of the heat exchanger is = 550 W/m2·°C.
Determine the length of the heat exchanger required to achieve the desired heating.
LMTD Method
Notes: 9

## Slide 10
ξ-NTU Method
10
Motivation behind the Effectiveness-NTU method:
EX3030/EM40JN
LMTD method is straightforward to use when inlet/outlet temperatures are known
However, what if our task is to determine heat transfer rates and outlet temperatures for our hot/cold fluid streams when the heat exchanger type and size is already specified?
In this case, if the inlet/outlet temperatures are unknown then the LMTD method becomes iterative (and tedious)
The effectiveness-NTU method was developed by Kays and London in 1955 to help solve these types of problems
Notes: 10

## Slide 11
ξ-NTU Method
11
Heat transfer effectiveness:
EX3030/EM40JN
The effectiveness-NTU method is based on a dimensionless parameter
The maximum possible heat transfer rate is:
where
In this way, we can estimate the actual heat transfer rate without knowing anything about the outlet temperatures i.e.:
Of course, we still need to determine
Notes: 11

## Slide 12
ξ-NTU Method
12
Estimating heat transfer effectiveness:
EX3030/EM40JN
We have two approaches that can be used to estimate
Through the effectiveness relations
Through effectiveness charts
Effectiveness relations have been developed for different heat exchangers e.g. effectiveness relation for double-pipe parallel-flow HE:
we see that
Notes: 12

## Slide 13
ξ-NTU Method
13
Effectiveness charts:
EX3030/EM40JN
Second approach for estimating is through the effectiveness charts:
Notes: 13

## Slide 14
Worked Example 2
14
Effectiveness-NTU Method
EX3030/EM40JN
Hot oil ( = 2200 J/kg·°C) is to be cooled by water ( = 4180 J/kg·°C) in a 2-shell-pass and 12-tube-pass heat exchanger. The tubes are thin-walled and are made of copper with a diameter of 1.8 cm. The length of each tube pass in the heat exchanger is = 3 m, and the overall heat transfer coefficient is = 340 W/m2·°C. Water flows through the tubes at a total rate of 0.1 kg/s, and the oil through the shell at a rate of 0.2 kg/s. The water and the oil enter at temperatures of 18°C and 160°C, respectively.
Objective:
Determine the rate of heat transfer in the heat exchanger and the outlet temperatures of the water and the oil
Notes: 14

## Slide 15
Summary
15
EX3030/EM40JN
We’ve started to get a sense of the variety and ubiquity of heat exchangers and some of the ways that they can be classified
Two popular configurations are concentric (double) tube and shell-and-tube
For these configurations we have demonstrated how to estimate their overall heat transfer coefficient, including how to account for effects such as fouling or thin-walls
We’ve also seen how to apply two common methods to determine the temperature gradient and associated heat transfer within a given heat exchanger:
(i) the LMTD method is straightforward to apply when we know the values of all inlet and outlet temperatures
(ii) the effectiveness-NTU method is preferred for solving problems where we are missing information on either the inlet or outlet temperatures
Summary of week 8 on heat exchangers
Notes: 15

## Slide 16
Thanks for your attention
16
EX3030/EM40JN
Notes: 16